## Лист1
Cable ID | Summary | Test Limit | Length | Headroom | Date / Time
-2-01 | PASS | TIA Cat 6A Channel | 60.3 | 14.5 dB (NEXT)
-2-02 | PASS | TIA Cat 6A Channel | 80.2 | 14.5 dB (NEXT)
-2-03 | PASS | TIA Cat 6A Channel | 56.1 | 14.5 dB (NEXT)
-2-04 | PASS | TIA Cat 6A Channel | 64.2 | 14.5 dB (NEXT)
-2-05 | PASS | TIA Cat 6A Channel | 79.1 | 14.5 dB (NEXT)
-2-06 | PASS | TIA Cat 6A Channel | 46.2 | 14.5 dB (NEXT)
-2-07 | PASS | TIA Cat 6A Channel | 79.1 | 14.5 dB (NEXT)
-2-08 | PASS | TIA Cat 6A Channel | 62.2 | 14.5 dB (NEXT)
-2-09 | PASS | TIA Cat 6A Channel | 71 | 14.5 dB (NEXT)
-2-10 | PASS | TIA Cat 6A Channel | 48.1 | 14.5 dB (NEXT)
-2-11 | PASS | TIA Cat 6A Channel | 77 | 14.5 dB (NEXT)
-2-12 | PASS | TIA Cat 6A Channel | 54.3 | 14.5 dB (NEXT)
-2-13 | PASS | TIA Cat 6A Channel | 94.5 | 14.5 dB (NEXT)
-2-14 | PASS | TIA Cat 6A Channel | 85 | 14.5 dB (NEXT)
-2-15 | PASS | TIA Cat 6A Channel | 67.2 | 14.5 dB (NEXT)
-2-16 | PASS | TIA Cat 6A Channel | 55.3 | 14.5 dB (NEXT)
-2-17 | PASS | TIA Cat 6A Channel | 46.1 | 14.5 dB (NEXT)
-2-18 | PASS | TIA Cat 6A Channel | 94.3 | 14.5 dB (NEXT)
-2-19 | PASS | TIA Cat 6A Channel | 64.1 | 14.5 dB (NEXT)
-2-20 | PASS | TIA Cat 6A Channel | 85.1 | 14.5 dB (NEXT)
-2-21 | PASS | TIA Cat 6A Channel | 92.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-22 | PASS | TIA Cat 6A Channel | 76.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-23 | PASS | TIA Cat 6A Channel | 80.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-25 | PASS | TIA Cat 6A Channel | 31.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-26 | PASS | TIA Cat 6A Channel | 64.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-27 | PASS | TIA Cat 6A Channel | 61.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-28 | PASS | TIA Cat 6A Channel | 44.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-29 | PASS | TIA Cat 6A Channel | 59.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-30 | PASS | TIA Cat 6A Channel | 31.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-31 | PASS | TIA Cat 6A Channel | 26.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-32 | PASS | TIA Cat 6A Channel | 26.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-33 | PASS | TIA Cat 6A Channel | 49.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-34 | PASS | TIA Cat 6A Channel | 44.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-35 | PASS | TIA Cat 6A Channel | 41 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-36 | PASS | TIA Cat 6A Channel | 50.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-38 | PASS | TIA Cat 6A Channel | 32 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-39 | PASS | TIA Cat 6A Channel | 29.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-40 | PASS | TIA Cat 6A Channel | 40.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-41 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-42 | PASS | TIA Cat 6A Channel | 56.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-43 | PASS | TIA Cat 6A Channel | 62.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-44 | PASS | TIA Cat 6A Channel | 35.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-45 | PASS | TIA Cat 6A Channel | 44.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
-2-46 | PASS | TIA Cat 6A Channel | 42.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-1-01 | PASS | TIA Cat 6A Channel | 26.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-1-02 | PASS | TIA Cat 6A Channel | 30.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-1-04 | PASS | TIA Cat 6A Channel | 26.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-1-05 | PASS | TIA Cat 6A Channel | 27.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-1-06 | PASS | TIA Cat 6A Channel | 26.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-1-07 | PASS | TIA Cat 6A Channel | 26.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-2-01 | PASS | TIA Cat 6A Channel | 28.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-2-02 | PASS | TIA Cat 6A Channel | 26.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-2-03 | PASS | TIA Cat 6A Channel | 30.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-2-05 | PASS | TIA Cat 6A Channel | 29.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-2-06 | PASS | TIA Cat 6A Channel | 26.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
02-2-07 | PASS | TIA Cat 6A Channel | 29.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-01 | PASS | TIA Cat 6A Channel | 25.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-02 | PASS | TIA Cat 6A Channel | 25.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-03 | PASS | TIA Cat 6A Channel | 25.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-04 | PASS | TIA Cat 6A Channel | 25.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-05 | PASS | TIA Cat 6A Channel | 25.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-06 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-07 | PASS | TIA Cat 6A Channel | 25.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-08 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-09 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-10 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-11 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-12 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-13 | PASS | TIA Cat 6A Channel | 25.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-14 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-15 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-16 | PASS | TIA Cat 6A Channel | 25.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-17 | PASS | TIA Cat 6A Channel | 25.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-18 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-19 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-20 | PASS | TIA Cat 6A Channel | 25.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-21 | PASS | TIA Cat 6A Channel | 25.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-22 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-23 | PASS | TIA Cat 6A Channel | 25.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-24 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-44 | PASS | TIA Cat 6A Channel | 29.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-45 | PASS | TIA Cat 6A Channel | 27.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-46 | PASS | TIA Cat 6A Channel | 28.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-47 | PASS | TIA Cat 6A Channel | 28.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
04-48 | PASS | TIA Cat 6A Channel | 33.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
06-1-01 | PASS | TIA Cat 6A Channel | 33.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
06-1-02 | PASS | TIA Cat 6A Channel | 32.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
06-1-03 | PASS | TIA Cat 6A Channel | 33.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
06-1-04 | PASS | TIA Cat 6A Channel | 27.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
06-1-05 | PASS | TIA Cat 6A Channel | 33.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
06-1-06 | PASS | TIA Cat 6A Channel | 32.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
06-1-07 | PASS | TIA Cat 6A Channel | 27 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-01 | PASS | TIA Cat 6A Channel | 25.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-02 | PASS | TIA Cat 6A Channel | 35.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-03 | PASS | TIA Cat 6A Channel | 60.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-04 | PASS | TIA Cat 6A Channel | 27.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-05 | PASS | TIA Cat 6A Channel | 27.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-06 | PASS | TIA Cat 6A Channel | 65 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-07 | PASS | TIA Cat 6A Channel | 27.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-08 | PASS | TIA Cat 6A Channel | 63.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-09 | PASS | TIA Cat 6A Channel | 79.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-10 | PASS | TIA Cat 6A Channel | 46.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-11 | PASS | TIA Cat 6A Channel | 30 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-12 | PASS | TIA Cat 6A Channel | 32.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-13 | PASS | TIA Cat 6A Channel | 55.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-14 | PASS | TIA Cat 6A Channel | 26.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-15 | PASS | TIA Cat 6A Channel | 26.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-16 | PASS | TIA Cat 6A Channel | 49.3 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-17 | PASS | TIA Cat 6A Channel | 71.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-18 | PASS | TIA Cat 6A Channel | 55.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
07-19 | PASS | TIA Cat 6A Channel | 26.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
08-1-01 | PASS | TIA Cat 6A Channel | 67.5 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
08-1-02 | PASS | TIA Cat 6A Channel | 56.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
08-1-03 | PASS | TIA Cat 6A Channel | 51.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
08-1-04 | PASS | TIA Cat 6A Channel | 52.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
08-1-05 | PASS | TIA Cat 6A Channel | 29.2 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
08-1-06 | PASS | TIA Cat 6A Channel | 31.1 | 14.5 dB (NEXT) | 03/26/2024 10:18 PM
08-1-07 | PASS | TIA Cat 6A Channel | 73.5
08-1-08 | PASS | TIA Cat 6A Channel | 30.1
10-1-01 | PASS | TIA Cat 6A Channel | 30.1
10-1-02 | PASS | TIA Cat 6A Channel | 45.2
10-1-03 | PASS | TIA Cat 6A Channel | 41.2
10-1-04 | PASS | TIA Cat 6A Channel | 71.3
10-1-05 | PASS | TIA Cat 6A Channel | 28.1
10-1-06 | PASS | TIA Cat 6A Channel | 67.1
10-1-07 | PASS | TIA Cat 6A Channel | 62.3
10-1-08 | PASS | TIA Cat 6A Channel | 35.1
12-1-01 | PASS | TIA Cat 6A Channel | 40.2
12-1-02 | PASS | TIA Cat 6A Channel | 53.1
12-1-03 | PASS | TIA Cat 6A Channel | 48.3
12-1-04 | PASS | TIA Cat 6A Channel | 51.2
12-1-05 | PASS | TIA Cat 6A Channel | 70.5
12-1-06 | PASS | TIA Cat 6A Channel | 31
12-1-07 | PASS | TIA Cat 6A Channel | 28.1
12-1-08 | PASS | TIA Cat 6A Channel | 62.5
14-1-01 | PASS | TIA Cat 6A Channel | 41.1
14-1-02 | PASS | TIA Cat 6A Channel | 42.2
14-1-03 | PASS | TIA Cat 6A Channel | 31.2
14-1-04 | PASS | TIA Cat 6A Channel | 63.1
14-1-05 | PASS | TIA Cat 6A Channel | 74.2
14-1-06 | PASS | TIA Cat 6A Channel | 31.5
14-1-07 | PASS | TIA Cat 6A Channel | 72.1
14-1-08 | PASS | TIA Cat 6A Channel | 32.3
16-1-01 | PASS | TIA Cat 6A Channel | 54.2
16-1-02 | PASS | TIA Cat 6A Channel | 74.1
16-1-03 | PASS | TIA Cat 6A Channel | 51
16-1-04 | PASS | TIA Cat 6A Channel | 65.3
16-1-05 | PASS | TIA Cat 6A Channel | 31.1
18-1-01 | PASS | TIA Cat 6A Channel | 48.2
18-1-02 | PASS | TIA Cat 6A Channel | 27.2
18-1-03 | PASS | TIA Cat 6A Channel | 66.5
18-1-04 | PASS | TIA Cat 6A Channel | 52.5
18-1-05 | PASS | TIA Cat 6A Channel | 43.3
18-1-06 | PASS | TIA Cat 6A Channel | 29.1
18-1-07 | PASS | TIA Cat 6A Channel | 31.1
18-1-08 | PASS | TIA Cat 6A Channel | 60.3
20-01 | PASS | TIA Cat 6A Channel | 68.2
20-02 | PASS | TIA Cat 6A Channel | 47.3
20-03 | PASS | TIA Cat 6A Channel | 36.3
20-04 | PASS | TIA Cat 6A Channel | 70.2
20-05 | PASS | TIA Cat 6A Channel | 31.1
20-06 | PASS | TIA Cat 6A Channel | 73.5
20-07 | PASS | TIA Cat 6A Channel | 36.2
20-08 | PASS | TIA Cat 6A Channel | 27.1
21-1-01 | PASS | TIA Cat 6A Channel | 31.3
21-1-02 | PASS | TIA Cat 6A Channel | 59.1
21-1-03 | PASS | TIA Cat 6A Channel | 63.2
21-1-04 | PASS | TIA Cat 6A Channel | 46.1
23-1-01 | PASS | TIA Cat 6A Channel | 61.2
23-1-02 | PASS | TIA Cat 6A Channel | 28.1
23-1-03 | PASS | TIA Cat 6A Channel | 46.2
23-1-04 | PASS | TIA Cat 6A Channel | 42.1
23-1-05 | PASS | TIA Cat 6A Channel | 45.5
23-1-06 | PASS | TIA Cat 6A Channel | 30.1
23-1-07 | PASS | TIA Cat 6A Channel | 74.2
23-1-08 | PASS | TIA Cat 6A Channel | 66.1
25-1-01 | PASS | TIA Cat 6A Channel | 73.3
25-1-02 | PASS | TIA Cat 6A Channel | 69.1
25-1-03 | PASS | TIA Cat 6A Channel | 51.2
25-1-04 | PASS | TIA Cat 6A Channel | 50.1
25-1-05 | PASS | TIA Cat 6A Channel | 36
25-1-06 | PASS | TIA Cat 6A Channel | 73
25-1-07 | PASS | TIA Cat 6A Channel | 42.3
25-1-08 | PASS | TIA Cat 6A Channel | 31.2
25-2-01 | PASS | TIA Cat 6A Channel | 58.5
25-2-02 | PASS | TIA Cat 6A Channel | 39.1
25-2-03 | PASS | TIA Cat 6A Channel | 37.3
25-2-04 | PASS | TIA Cat 6A Channel | 45.1
25-2-05 | PASS | TIA Cat 6A Channel | 48.3
25-2-06 | PASS | TIA Cat 6A Channel | 53.1
25-2-07 | PASS | TIA Cat 6A Channel | 70.1
25-2-08 | PASS | TIA Cat 6A Channel | 65.2
27-1-01 | PASS | TIA Cat 6A Channel | 55
27-1-02 | PASS | TIA Cat 6A Channel | 41.2
27-1-05 | PASS | TIA Cat 6A Channel | 31.3
27-1-06 | PASS | TIA Cat 6A Channel | 67.1
27-1-07 | PASS | TIA Cat 6A Channel | 72.5
27-1-08 | PASS | TIA Cat 6A Channel | 60
27-2-01 | PASS | TIA Cat 6A Channel | 74.3
27-2-05 | PASS | TIA Cat 6A Channel | 39.1
27-2-06 | PASS | TIA Cat 6A Channel | 46.1
27-2-07 | PASS | TIA Cat 6A Channel | 70.1
27-2-08 | PASS | TIA Cat 6A Channel | 58.3
27-3-05 | PASS | TIA Cat 6A Channel | 36.5
27-3-06 | PASS | TIA Cat 6A Channel | 52.5